# Compressed Gas Association Valve Outlet Listing

|  |  |
| --- | --- |
| **Gas** | **CGA Valve Outlet & Conn. No.****CGA/UHP CGA** |
| Acetylene | 510 |
| Air, Breathing | 346 |
| Air, Industrial | 590\* |
| Allene | 510\*\* |
| Ammonia, Anhydrous | 705\*\* |
| Ammonia, Electronic | 660/720 |
| Argon | 580\*/718 |
| Argon-3500 psig | 680\*\*\* |
| Argon-6000 psig | 677 |
| Arsine | 350/632 |
| Boron Trichloride | 660\*\*/634 |
| Boron Trifluoride | 330\*\*/642 |
| 1,3-Butadiene | 510\* |
| Butane | 510\* |
| Butenes | 510\* |
| Carbon Dioxide | 320\*/716 |
| Carbon Monoxide | 350\*/724 |
| Carbonyl Fluoride | 660 |
| Carbonyl Sulfide | 330\*\* |
| Chlorine | 660\*\*/728 |
| Cyanogen | 660 |
| Cyanogen Chloride | 660 |
| Cyclopropane | 510\* |
| Deuterium | 350\* |
| Dichlorosilane | 678/636 |
| Dimethylamine | 705\*\* |
| Dimethyl Ether | 510\* |
| 2,2-Dimethylpropane | 510 |
| Ethane | 350\* |
| Ethyl Chloride | 300\* |
| Ethylene | 350\* |
| Ethylene Oxide | 510\*\* |
| Fluorine | 679 |
| Germane | 350/632 |
| Halocarbon 12(Dichlorodifluoromethane) | 660\*/716 |
| **Gas** | **CGA Valve Outlet & Conn. No.****CGA/UHP CGA** |
| Halocarbon 13(Chlorotrifluoromethane) | 660/716 |
| Halocarbon 13B1(Bromotrifluoromethane) | 660 |
| Halocarbon 14(Tetrafluoromethane) | 320\*/716 |
| Halocarbon 22(Chlorodifluoromethane) | 660\* |
| Halocarbon 23(Fluoroform) | 660/716 |
| Halocarbon 114 (2,2-Dichlorotetrafluoroethane) | 660\* |
| Halocarbon 115(Chloropentafluoroethane) | 660\*/716 |
| Halocarbon 116(Hexafluoroethane) | 660 |
| Halocarbon 142B (1-Chloro-1,1-difluoroethane) | 510 |
| Halocarbon 1113(Chlorotrifluoroethylene) | 510 |
| Helium-3500 psig | 680\*\*\* |
| Helium | 580\*/718 |
| Hexafluoropropylene | 660\* |
| Hydrogen | 350\*/724 |
| Hydrogen-3500 psig | 695\*\*\* |
| Hydrogen Bromide | 330\*\*/634 |
| Hydrogen Chloride | 330\*\*/634 |
| Hydrogen Fluoride | 660\*\*/638 |
| Hydrogen Iodide | 330\*\* |
| Hydrogen Selenide | 350 |
| Hydrogen Sulfide | 330\*\*/722 |
| Isobutane | 510\* |
| Isobutylene | 510\* |
| Krypton | 580/718 |
| “Manufactured Gas B” | 350 |
| Methane | 350\* |
| Methyl Bromide | 330 |
| **Gas** | **CGA Valve Outlet & Conn. No.****CGA/UHP CGA** |
| 3-Methyl-1-butene | 510 |
| Methyl Chloride | 660\*/510 |
| Methyl Fluoride | 350/724 |
| Methyl Mercaptan | 330\*\* |
| Monomethylamine | 705\*\* |
| Neon | 580\*/718 |
| Nitric Oxide | 660/712/728 |
| Nitrogen | 580\*/718 |
| Nitrogen-3500 psig | 680\*\*\* |
| Nitrogen-6000 psig | 677 |
| Nitrogen Dioxide | 660 |
| Nitrogen Trioxide | 660 |
| Nitrous Oxide | 326\*/712 |
| Octafluorocyclobutane | 660\*/716 |
| Oxygen | 540\*/714 |
| Oxygen Mixtures Over23% | 296 |
| **Gas** | **CGA Valve Outlet & Conn. No.****CGA/UHP CGA** |
| Perfluoropropane | 660\*/716 |
| Phosgene | 660 |
| Phosphine | 350/632 |
| Phosphorus Pentafluoride | 330/642/660\*\* |
| Propane | 510\* |
| Propylene | 510\*/791/810 |
| Silane (High Pressure) | 350/632 |
| Silicon Tetrafluoride | 330\*\*/642 |
| Sulfur Dioxide | 660\*\* |
| Sulfur Hexafluoride | 590\*/716 |
| Sulfur Tetrafluoride | 330\*\* |
| Trimethylamine | 705\*\* |
| Vinyl Bromide | 510 |
| Vinyl Methyl Ether | 510 |
| Xenon | 580\*\*/718 |

**\***Lecture bottles use CGA No. 170

\*\*Lecture bottles use CGA No. 180

\*\*\*For information on CGA 680 and 695 connections contact your nearest supplier office